## Setup
Platform |  | BA | TS | FA | QS | Qubit
Assay |  | DNA 1000 Kit (5067-1504) | D1000 ScreenTape (5067-5583) | NGS Fragment Kit (DNF-473-0500) | Standard Quantitative Cartridge Kit (C105201-Q) | 1X HS DNA (Q33230)
D1000 Reagents (5067-5583)
Quantitative range |  | 0.1-50 ng/µL | 0.1-50 ng/µL | 0.1-10 ng/µL | 0.2 – 50 ng/µL | 10 pg/µL - 100 ng/µL
Sizing range |  | 25-1000 bp | 35-1000 bp | 100-6000 bp | 20-1500 bp
LM-UM |  | 15-1500 bp | 25-1500 bp | 1-6000 bp | 20-1500 bp
Sample volume |  | 1 µL | 1 µL | 2 µL | 2 µL | 1 µL
Replicate number/Fragment |  | 3 | 3 | 3 | 3 | 3
Replicate number/Ladder |  | 3 | 3 | 3 | 3 | 3
Sample | 500 bp Fragment | 0.1 ng/µL
0.2 ng/µL
0.3 ng/µL
0.6 ng/µL
1.2 ng/µL
2.5 ng/µL
5 ng/µL
10 ng/µL
20 ng/µL
40 ng/µL
50 ng/µL
| 50-100 bp Ladder | 5 ng/µL
10 ng/µL
20 ng/µL
40 ng/µL

## Integrity Test
Assay | File |  |  |  | Chip Lot # | Reagent Kit Lot # |  | Reagent Kit Lot #
BA DNA 1000 Kit | DNA 1000_2019_10-28_14-47-30.xad |  |  |  | XD25BK10 |  |  | 1916
Supplier | Sample Type | Nominal Stock Conc. [ng/µL] | Nominal Size [bp] | Dilution | Repeats | Qubit 1 Conc. [ng/µL] | Qubit 2 Conc. [ng/µL] | Qubit 3 Conc. [ng/µL] | Qubit Average [ng/µL] | BA 1 Quant. [ng/µL] | BA 2 Quant. [ng/µL] | BA 3 Quant. [ng/µL] | BA Average [ng/µL] | BA 1 Sizing [bp] | BA 2 Sizing [bp] | BA 3 Sizing [bp] | BA Average [bp] | Comments
ThemoFisher Scientific | Fragment 500 bp | 0.5 µg/µL | 500 | 1:50 | 3 | 7.75 | 7.18 | 7.33 | 7.42 | 6.83 | 7.37 | 7.06 | 7.0867 | 498 | 496 | 496 | 496.6667
ThemoFisher Scientific | Fragment 500 bp | 0.5 µg/µL | 500 | 1:100 | 3 | 3.33 | 3.16 | 3.29 | 3.26 | 3.33 | 3.41 | 3.37 | 3.37 | 496 | 498 | 498 | 497.3333
ThemoFisher Scientific | Ladder 50-1000 bp | 0.5 µg/µL | 50 | 1:50 | 3 | 7.95 | 7.35 | 7.55 | 7.6167 |  |  |  |  | 52 | 52 | 52 | 52 | Height Threshold 20
|  |  | 100 | [10 empty] | 103 | 103 | 103 | 103 | Height Threshold 20
|  |  | 150 | [10 empty] | 149 | 149 | 149 | 149 | Height Threshold 20 | BA Chip Mask
|  |  | 200 | [10 empty] | 199 | 198 | 198 | 198.3333 | Height Threshold 20 | F_500_10_1 | F_500_10_2 | F_500_10_3
|  |  | 250 | [10 empty] | 250 | 250 | 250 | 250 | Height Threshold 20 | F_500_5_1 | F_500_5_2 | F_500_5_3
|  |  | 300 | [10 empty] | 298 | 298 | 297 | 297.6667 | Height Threshold 20 | L_50_10_1 | L_50_10_2 | L_50_10_3
|  |  | 400 | [10 empty] | 397 | 396 | 396 | 396.3333 | Height Threshold 20 | L_50_5_1 | L_50_5_2 | L_50_5_3
|  |  | 500 | [10 empty] | 499 | 498 | 499 | 498.6667 | Height Threshold 20
|  |  | 600 | [10 empty] | 624 | 623 | 622 | 623 | Height Threshold 20
|  |  | 700 | [10 empty] | 695 | 695 | 694 | 694.6667 | Height Threshold 20
|  |  | 800 | [10 empty] | 761 | 762 | 760 | 761 | Height Threshold 20
|  |  | 900 | [10 empty] | 836 | 835 | 832 | 834.3333 | Height Threshold 20
|  |  | 1000 | [10 empty] | 972 | 980 | 960 | 970.6667 | Height Threshold 20
ThemoFisher Scientific | Ladder 50-1000 bp | 0.5 µg/µL |  | 1:50 | 3 | 7.95 | 7.35 | 7.55 | 7.62 | 8.47 | 9.67 | 8.48 | 8.8733 |  |  |  |  | Region: 30 bp to 1275 bp
ThemoFisher Scientific | Ladder 50-1000 bp | 0.5 µg/µL | 50 | 1:100 | 3 | 3.8 | 3.57 | 3.67 | 3.68 | [8 empty] | Height Threshold 10
|  |  | 100 | [14 empty] | Height Threshold 10
|  |  | 150 | [14 empty] | Height Threshold 20
|  |  | 200 | [14 empty] | Height Threshold 20
|  |  | 250 | [14 empty] | Height Threshold 20
|  |  | 300 | [14 empty] | Height Threshold 20
|  |  | 400 | [14 empty] | Height Threshold 20
|  |  | 500 | [14 empty] | Height Threshold 20
|  |  | 600 | [14 empty] | Height Threshold 20
|  |  | 700 | [14 empty] | Height Threshold 20
|  |  | 800 | [14 empty] | Height Threshold 20
|  |  | 900 | [14 empty] | Height Threshold 20
|  |  | 1000 | [14 empty] | Height Threshold 10
ThemoFisher Scientific | Ladder 50-1000 bp | 0.5 µg/µL |  | 1:100 | 3 | 3.8 | 3.57 | 3.67 | 3.68 | 3.98 | 3.63 | 3.8 | 3.8033 |  |  |  |  | Region: 30 bp to 1275 bp

## Dilutions
Integrity test
Sample | Nominal Conc. [ng/µL] | Dilution | Preparation | Factor | Sample : TE 1X [µL]
Fragment 500bp | 500 | 1:50 | 1+49 | 2 | 2 | 98
Ladder 50-1000 bp | 500 | 1:100 | 1+99 | 2 | 2 | 198

## Fragment Dataset
Sample Name | Replicate | Dilution Expected Conc. [ng/µL] | Qubit 1X HS DNA Conc. [ng/µL] | Qubit Comments | BA Total Conc. [ng/µL] | BA Peak Size [bp] | BA File Name | BA Comments | QS Total Conc. [ng/µL] | QS Peak Size [bp] | QS File Name | QS Comments | TS Total Conc. [ng/µL] | TS Peak Size [bp] | TS File Name | TS Comments | FA Total Conc. [ng/µL] | FA Peak Size [bp] | FA File Name | FA Comments
F_500_0.1 | 1 | 0.1 | 0.137
F_500_0.1 | 2 | 0.1 | 0.131
F_500_0.1 | 3 | 0.1 | 0.139
F_500_0.2 | 1 | 0.2 | 0.219
F_500_0.2 | 2 | 0.2 | 0.224
F_500_0.2 | 3 | 0.2 | 0.204
F_500_0.3 | 1 | 0.3 | 0.36
F_500_0.3 | 2 | 0.3 | 0.34
F_500_0.3 | 3 | 0.3 | 0.348
F_500_0.6 | 1 | 0.6 | 0.634
F_500_0.6 | 2 | 0.6 | 0.63
F_500_0.6 | 3 | 0.6 | 0.654
F_500_1.2 | 1 | 1.2 | 1.24
F_500_1.2 | 2 | 1.2 | 1.23
F_500_1.2 | 3 | 1.2 | 1.24
F_500_2.5 | 1 | 2.5 | 2.5
F_500_2.5 | 2 | 2.5 | 2.42
F_500_2.5 | 3 | 2.5 | 2.28
F_500_5 | 1 | 5 | 5.32
F_500_5 | 2 | 5 | 4.56
F_500_5 | 3 | 5 | 4.56
F_500_10 | 1 | 10 | 10.1
F_500_10 | 2 | 10 | 9.32
F_500_10 | 3 | 10 | 9.44
F_500_20 | 1 | 20 | 21.8
F_500_20 | 2 | 20 | 19.7
F_500_20 | 3 | 20 | 20
F_500_40 | 1 | 40 | 41.6
F_500_40 | 2 | 40 | 42.6
F_500_40 | 3 | 40 | 38.6
F_500_50 | 1 | 50 | 51.2
F_500_50 | 2 | 50 | 47.4
F_500_50 | 3 | 50 | 48.4

## Ladder Dataset
Sample Name | Replicate | Dilution Expected Conc. [ng/µL] | Qubit 1X HS DNA Conc. [ng/µL] | Qubit Comments | BA Total Conc. [ng/µL] | BA Peak Conc. [ng/µL] | BA Peak Size [bp] | BA File Name | BA Comments | QS Total Conc. [ng/µL] | QS Peak Conc. [ng/µL] | QS Peak Size [bp] | QC File Name | QS Comments | TS Total Conc. [ng/µL] | TS Peak Conc. [ng/µL] | TS Peak Size [bp] | TC File Name | TS Comments | FA Total Conc. [ng/µL] | FA Peak Conc. [ng/µL] | FA Peak Size [bp] | FA File Name | FA Comments
L_total_5 | 1 | 5 | 4.62
L_total_5 | 2 | 5 | 4.62
L_total_5 | 3 | 5 | 4.46
L_total_10 | 1 | 10 | 9.2
L_total_10 | 2 | 10 | 9.52
L_total_10 | 3 | 10 | 9.26
L_total_20 | 1 | 20 | 18.9
L_total_20 | 2 | 20 | 18.6
L_total_20 | 3 | 20 | 19.1
L_total_40 | 1 | 40 | 38.4
L_total_40 | 2 | 40 | 38.2
L_total_40 | 3 | 40 | 37.8
L_50_5 | 1 | 5
L_50_5 | 2 | 5
L_50_5 | 3 | 5
L_100_5 | 1 | 5
L_100_5 | 2 | 5
L_100_5 | 3 | 5
L_150_5 | 1 | 5
L_150_5 | 2 | 5
L_150_5 | 3 | 5
L_200_5 | 1 | 5
L_200_5 | 2 | 5
L_200_5 | 3 | 5
L_250_5 | 1 | 5
L_250_5 | 2 | 5
L_250_5 | 3 | 5
L_300_5 | 1 | 5
L_300_5 | 2 | 5
L_300_5 | 3 | 5
L_400_5 | 1 | 5
L_400_5 | 2 | 5
L_400_5 | 3 | 5
L_500_5 | 1 | 5
L_500_5 | 2 | 5
L_500_5 | 3 | 5
L_600_5 | 1 | 5
L_600_5 | 2 | 5
L_600_5 | 3 | 5
L_700_5 | 1 | 5
L_700_5 | 2 | 5
L_700_5 | 3 | 5
L_800_5 | 1 | 5
L_800_5 | 2 | 5
L_800_5 | 3 | 5
L_900_5 | 1 | 5
L_900_5 | 2 | 5
L_900_5 | 3 | 5
L_1000_5 | 1 | 5
L_1000_5 | 2 | 5
L_1000_5 | 3 | 5
L_50_10 | 1 | 10
L_50_10 | 2 | 10
L_50_10 | 3 | 10
L_100_10 | 1 | 10
L_100_10 | 2 | 10
L_100_10 | 3 | 10
L_150_10 | 1 | 10
L_150_10 | 2 | 10
L_150_10 | 3 | 10
L_200_10 | 1 | 10
L_200_10 | 2 | 10
L_200_10 | 3 | 10
L_250_10 | 1 | 10
L_250_10 | 2 | 10
L_250_10 | 3 | 10
L_300_10 | 1 | 10
L_300_10 | 2 | 10
L_300_10 | 3 | 10
L_400_10 | 1 | 10
L_400_10 | 2 | 10
L_400_10 | 3 | 10
L_500_10 | 1 | 10
L_500_10 | 2 | 10
L_500_10 | 3 | 10
L_600_10 | 1 | 10
L_600_10 | 2 | 10
L_600_10 | 3 | 10
L_700_10 | 1 | 10
L_700_10 | 2 | 10
L_700_10 | 3 | 10
L_800_10 | 1 | 10
L_800_10 | 2 | 10
L_800_10 | 3 | 10
L_900_10 | 1 | 10
L_900_10 | 2 | 10
L_900_10 | 3 | 10
L_1000_10 | 1 | 10
L_1000_10 | 2 | 10
L_1000_10 | 3 | 10
L_100_20 | 1 | 20
L_100_20 | 2 | 20
L_100_20 | 3 | 20
L_150_20 | 1 | 20
L_150_20 | 2 | 20
L_150_20 | 3 | 20
L_200_20 | 1 | 20
L_200_20 | 2 | 20
L_200_20 | 3 | 20
L_250_20 | 1 | 20
L_250_20 | 2 | 20
L_250_20 | 3 | 20
L_300_20 | 1 | 20
L_300_20 | 2 | 20
L_300_20 | 3 | 20
L_400_20 | 1 | 20
L_400_20 | 2 | 20
L_400_20 | 3 | 20
L_500_20 | 1 | 20
L_500_20 | 2 | 20
L_500_20 | 3 | 20
L_600_20 | 1 | 20
L_600_20 | 2 | 20
L_600_20 | 3 | 20
L_700_20 | 1 | 20
L_700_20 | 2 | 20
L_700_20 | 3 | 20
L_800_20 | 1 | 20
L_800_20 | 2 | 20
L_800_20 | 3 | 20
L_900_20 | 1 | 20
L_900_20 | 2 | 20
L_900_20 | 3 | 20
L_1000_20 | 1 | 20
L_1000_20 | 2 | 20
L_1000_20 | 3 | 20
L_100_40 | 1 | 40
L_100_40 | 2 | 40
L_100_40 | 3 | 40
L_150_40 | 1 | 40
L_150_40 | 2 | 40
L_150_40 | 3 | 40
L_200_40 | 1 | 40
L_200_40 | 2 | 40
L_200_40 | 3 | 40
L_250_40 | 1 | 40
L_250_40 | 2 | 40
L_250_40 | 3 | 40
L_300_40 | 1 | 40
L_300_40 | 2 | 40
L_300_40 | 3 | 40
L_400_40 | 1 | 40
L_400_40 | 2 | 40
L_400_40 | 3 | 40
L_500_40 | 1 | 40
L_500_40 | 2 | 40
L_500_40 | 3 | 40
L_600_40 | 1 | 40
L_600_40 | 2 | 40
L_600_40 | 3 | 40
L_700_40 | 1 | 40
L_700_40 | 2 | 40
L_700_40 | 3 | 40
L_800_40 | 1 | 40
L_800_40 | 2 | 40
L_800_40 | 3 | 40
L_900_40 | 1 | 40
L_900_40 | 2 | 40
L_900_40 | 3 | 40
L_1000_40 | 1 | 40
L_1000_40 | 2 | 40
L_1000_40 | 3 | 40

## Time Sheet
QS Benchmarking Part I
Fragment&Ladder
Week I |  |  |  |  | Week II
October |  |  |  | November | November
Mo | Tu | Wed | Th | Fr | Mo | Tu | Wed | Th | Fr
28 | 29 | 30 | 31 | 1 | 4 | 5 | 6 | 7 | 8
QS Training II Itegrity Test Roche | Sample prep (dilutions) | Qubit Run | Roche | Public Holiday | HO/FTO | BS Run | QS Run | TS Run | FA Run
Week III |  |  |  |  | Week IV
November |  |  |  |  | November
Mo | Tu | Wed | Th | Fr | Mo | Tu | Wed | Th | Fr
11 | 12 | 13 | 14 | 15 | 18 | 19 | 20 | 21 | 22
Qubit Analysis (+ Meetings) | BS Analysis | QS Analysis | TS Analysis | FA Analysis | Data Comparison Summing up |  | Presentation Preparation |  | Report to Manager